## Slide 1: Convergence Study of April Run

## Slide 2: Overview
In April run, we did 156 convergence operations. The detailed convergence log can be found in PFS-GEN-IPM004036_Run11_note_rasterlog.pdf.
All diagnostic plots are uploaded to here.
Instead of complete rate, we use the averaged (median) cobra distances to the target locations as the measurement of convergence performance.
We calculate FF RMS offsets relative to their mean position as another measurement.
Factors that impacts the convergence rate:
  Seeing
  Book keeping

## Slide 3
FPS convergence rate may not be a good measurement because it is reported from FPS by accumulating stopped cobras of each iteration.
As we know from last few engineering runs, convergence will be impacted by seeing.

## Slide 4
Cobra Mean Distance
Cobra Median Distance
For each FF, we calculate its relative offsets to its mean position at each iteration. By repeating this process on all FFs, we have averaged FF offsets.
We also calculate the averaged (or median) distances between cobra final locations and target positions.

## Slide 5
Cobra Median Distance

## Slide 8: Case of Good Convergence

## Slide 9
Case of Good Convergence

## Slide 10: Seeing impact (tolerance =0.01 )

## Slide 11: Seeing impact (tolerance =0.01 )

## Slide 12
Seeing impact (tolerance =0.005 )

## Slide 13: Comparison of different tolerances

## Slide 14: The wrost convergence cases

## Slide 15
In the case of pfsVisitID=91068, there are many outliers did not show up in the histogram plot.
This field only assign half of fiber. So, unassigned fibers are masked and not moving. However, the FPS did not exclude them.
We need to apply the fix for consistency.

## Slide 16
Unassign fibers issue in GA field

## Slide 17: The wrost case of tolerance=0.005(GA field)

## Slide 18: INSTRM-1970 Convergence of visit=92973

## Slide 19: Summary
Changing the tolerance from 10 to 5 micron do improve the cobra convergence performance.
Cobra convergences are stable across the Arpil run, except some convergence runs impacted by seeing.
Some worst cases are actually due to book keeping issue. The unassined fiber DID NOT move in FPS operation, but they are included when making the dianostic plots.
We already fix the book keeping issues for usassigned fibers and will be merged to master before next run.