## Slide 1: Convergence Study of April Run

## Slide 2: Overview
In April run, we did 156 convergence operations. The detailed convergence log can be found in PFS-GEN-IPM004036_Run11_note_rasterlog.pdf.
All diagnostic plots are uploaded to here.
Instead of complete rate, we use the averaged (median) cobra distances to the target locations as the measurement of convergence performance.
We calculate FF RMS offsets relative to their mean position as another measurement.
Factors that impacts the convergence rate:
  Seeing
  Book keeping

## Slide 3
FPS convergence rate may not be a good measurement because it is reported from FPS by accumulating stopped cobras of each iteration.
As we know from last few engineering runs, convergence will be impacted by seeing.

## Slide 4
Cobra Mean Distance
Cobra Median Distance
For each FF, we calculate its relative offsets to its mean position at each iteration. By repeating this process on all FFs, we have averaged FF offsets.
We also calculate the averaged (or median) distances between cobra final locations and target positions.
Cobra 75% percentile Distance

## Slide 6
Cobra Median Distance

## Slide 9: Case of Good Convergence

## Slide 10
Case of Good Convergence

## Slide 11: Seeing impact (tolerance =0.01 )

## Slide 12: Seeing impact (tolerance =0.01 )

## Slide 13
Seeing impact (tolerance =0.005 )

## Slide 14: Comparison of different tolerances

## Slide 15: The wrost convergence cases

## Slide 16
In the case of pfsVisitID=91068, there are many outliers did not show up in the histogram plot.
This field only assign half of fiber. So, unassigned fibers are masked and not moving. However, the FPS did not exclude them.
We need to apply the fix for consistency.

## Slide 17
Unassign fibers issue in GA field

## Slide 18: The wrost case of tolerance=0.005(GA field)

## Slide 19: INSTRM-1970 Convergence of visit=92973

## Slide 20: Summary
Changing the tolerance from 10 to 5 micron do improve the cobra convergence performance.
Cobra convergences are stable across the Arpil run, except some convergence runs impacted by seeing.
Some worst cases are actually due to book keeping issue. The unassined fiber DID NOT move in FPS operation, but they are included when making the dianostic plots.
We already fix the book keeping issues for usassigned fibers and will be merged to master before next run.